## LOD Matrix
Classifications |  | Client | Design | [7 empty] | Construct |  | Operate
Systems | FDS Product Class (Data Requirement) |  | Schematic Design |  | Design Development |  | Construction Documents |  | Design Intent |  | Trade Coordination |  | Record Modeling |  | As-Built Modeling
CSI UniFormat 2010 | OmniClass Table 23, Level 2 | UCSD Client | LOD | MEA | LOD | MEA | LOD | MEA | LOD | MEA | LOD | MEA | LOD | MEA | LOD | MEA | LOD Notes
A Substructure
A10 Foundation
A1010 – Standard Foundations
A1010.10 – Wall Foundations |  | All | [6 empty] | 300 |  |  |  | 300
A1010.30 – Column Foundations |  | All | [6 empty] | 300 |  |  |  | 300
A1010.90 – Standard Foundation Supplementary Components |  | All
A1020 – Special Foundations
A1020.10 – Driven Piles |  | All | [6 empty] | 300 |  |  |  | 300
A1020.15 – Bored Piles |  | All | [6 empty] | 300 |  |  |  | 300
A1020.20 – Caissons |  | All | [6 empty] | 300 |  |  |  | 300
A1020.30 – Special Foundation Walls |  | All | [6 empty] | 300 |  |  |  | 300
A1020.40 – Foundation Anchors |  | All
A1020.50 – Underpinning |  | All
A1020.60 – Raft Foundations |  | All
A1020.70 – Pile Caps |  | All | [6 empty] | 300 |  |  |  | 300
A1020.80 – Grade Beams |  | All | [6 empty] | 300 |  |  |  | 300
A20 Subgrade Enclosure
A2010 – Walls for Subgrade Enclosures
A2010.10 – Subgrade Enclosure Wall Construction |  | All | [6 empty] | 300 |  |  |  | 300
A2010.20 – Subgrade Enclosure Wall Interior Skin Plaster and Gypsum Board |  | All | [6 empty] | 300 |  |  |  | 300
A2010.90 – Subgrade Enclosure Wall Supplementary Components |  | All | [14 empty] | 5
A40 Slabs-on-Grade
A4010 – Standard Slabs-on-Grade |  | All | [6 empty] | 300 |  |  |  | 300
A4020 – Structure Slabs-on-Grade |  | All | [6 empty] | 300 |  |  |  | 300
A4030 – Slab Trenches |  | All | [6 empty] | 300 |  |  |  | 300
A4040 – Pits and Basses |  | All | [6 empty] | 300 |  |  |  | 300
A4090 – Slab-On-Grade Supplementary Components
A4090.10 – Perimeter Insulation |  | All | [14 empty] | 5
A4090.20 – Vapor Retarder |  | All | [14 empty] | 5
A4090.30 – Waterproofing |  | All | [14 empty] | 5
A4090.50 – Mud Slab |  | All | [14 empty] | 5
A4090.60 – Subbase Layer |  | All | [14 empty] | 5
A60 Water and Gas Mitigation
A6010 – Building Subdrainage
A6010.10 – Foundation Drainage |  | All | [6 empty] | 300 |  |  |  | 300
A6010.20 – Underslab Drainage |  | All | [6 empty] | 300 |  |  |  | 300
A6020 – Off-Gassing Mitigation
A6020.10 – Radon Mitigation |  | All
A6020.50 – Methane Mitigation |  | All
A90 Substructure Related Activities
A9010 – Substructure Excavation
A9010.10 – Backfill and Compaction |  | All
A9020 – Construction Dewatering |  | All
A9030 – Excavation Support
A9030.10 – Anchor Tiebacks |  | All
A9030.20 – Cofferdams |  | All
A9030.40 – Cribbing and Walers |  | All
A9030.60 – Ground Freezing |  | All
A9030.70 – Slurry Walls |  | All
A9040 – Soil Treatment |  | All
B: Shell
B10 Superstructure
B1010 – Floor Construction
B1010.10 – Floor Structural Frame |  | All | [6 empty] | 300 |  |  |  | 300
B1010.20 – Floor Decks, Slabs, and Toppings |  | All | [6 empty] | 300 |  |  |  | 300
B1010.30 – Balcony Floor Construction |  | All | [6 empty] | 300 |  |  |  | 300
B1010.40 – Mezzanine Floor Construction |  | All | [6 empty] | 300 |  |  |  | 300
B1010.50 – Ramps |  | All | [6 empty] | 300 |  |  |  | 300
B1010.90 – Floor Construction Supplementary Components |  | All | [14 empty] | 5
B1020 – Roof Construction
B1020.10 – Roof Structural Frame |  | All | [6 empty] | 300 |  |  |  | 300
B1020.20 – Roof Decks, Slabs, and Sheathing |  | All | [6 empty] | 300 |  |  |  | 300
B1020.30 – Canopy Construction |  | All | [6 empty] | 300 |  |  |  | 300
B1020.90 – Roof Construction Supplementary Components |  | All | [14 empty] | 5
B1080 – Stairs
B1080.10 – Stair Construction |  | All | [6 empty] | 300 |  |  |  | 300
B1080.30 – Stair Soffits |  | All | [6 empty] | 300 |  |  |  | 300
B1080.50 – Stair Railings |  | All | [6 empty] | 300 |  |  |  | 300
B1080.60 – Fire Escapes |  | All | [6 empty] | 300 |  |  |  | 300
B1080.70 – Metal Walkways |  | All | [6 empty] | 300 |  |  |  | 300
B1080.80 – Ladders |  | All | [6 empty] | 300 |  |  |  | 300 |  |  |  | 15
B20 Exterior Vertical Enclosures
B2010 – Exterior Walls
B2010.10 – Exterior Wall Veneer |  | All | [6 empty] | 300 |  |  |  | 300 |  |  |  | 16
B2010.20 – Exterior Wall Construction |  | All | [6 empty] | 300 |  |  |  | 300 |  |  |  | 16
B2010.30 – Exterior Wall Interior Skin |  | All | [6 empty] | 300 |  |  |  | 300 |  |  |  | 16
B2010.40 – Fabricated Exterior Wall Assemblies |  | All | [6 empty] | 300 |  |  |  | 300 |  |  |  | 16
B2010.50 – Parapets |  | All | [6 empty] | 300 |  |  |  | 300 |  |  |  | 16
B2010.60 – Equipment Screens |  | All | [6 empty] | 200 |  |  |  | 200
B2010.80 – Exterior Wall Supplementary Components |  | All | [14 empty] | 5
B2010.90 – Exterior Wall Opening Supplementary Components |  | All | [14 empty] | 5
B2020 – Exterior Windows
B2020.10 – Exterior Operating Windows |  | All | [6 empty] | 300 |  |  |  | 300
B2020.20 – Exterior Fixed Windows |  | All | [6 empty] | 300 |  |  |  | 300
B2020.30 – Exterior Window Wall |  | All | [6 empty] | 300 |  |  |  | 300
B2020.50 – Exterior Special Function Windows |  | All | [6 empty] | 200 |  |  |  | 200
B2050 – Exterior Doors and Grilles
B2050.10 – Exterior Entrance Doors | 23-17 11 00: Doors | All | [6 empty] | 300 |  |  |  | 350
B2050.20 – Exterior Utility Doors | 23-17 11 00: Doors | All | [6 empty] | 300 |  |  |  | 350
B2050.30 – Exterior Oversize Doors | 23-17 11 00: Doors | All | [6 empty] | 300 |  |  |  | 350
B2050.40 – Exterior Special Function Doors | 23-17 11 00: Doors | All | [6 empty] | 300 |  |  |  | 350
B2050.60 – Exterior Grilles |  | All | [6 empty] | 200 |  |  |  | 200
B2050.70 – Exterior Gates |  | All | [6 empty] | 200 |  |  |  | 200
B2050.90 – Exterior Door Supplementary Components |  | All | [14 empty] | 5, 8
B2070 – Exterior Louvers and Vents
B2070.10 – Exterior Louvers |  | All | [6 empty] | 300 |  |  |  | 300
B2070.50 – Exterior Vents |  | All | [6 empty] | 300 |  |  |  | 300
B2080 – Exterior Wall Appurtenances
B2080.10 – Exterior Fixed Grilles and Screens |  | All | [6 empty] | 200 |  |  |  | 200
B2080.30 – Exterior Opening Protection Devices |  | All | [6 empty] | 200 |  |  |  | 200
B2080.50 – Exterior Balcony Walls and Railings |  | All | [6 empty] | 300 |  |  |  | 300
B2080.70 – Exterior Fabrications |  | All | [6 empty] | 200 |  |  |  | 200
B2080.80 – Bird Control Devices |  | All
B2090 – Exterior Wall Specialties |  | All | [6 empty] | 200 |  |  |  | 200
B30 Exterior Horizontal Enclosures
B3010 – Roofing
B3010.10 – Steep Slope Roofing |  | All | [6 empty] | 300 |  |  |  | 300
B3010.50 – Low-Slope Roofing |  | All | [6 empty] | 300 |  |  |  | 300
B3010.70 – Canopy Roofing |  | All | [6 empty] | 300 |  |  |  | 300
B3010.90 – Roofing Supplementary Components | 23-13 39 00: Roof Coverings, Claddings, Linings | All | [6 empty] | 300 |  |  |  | 350 |  |  |  | 5, 8
B3020 – Roof Appurtenances
B3020.10 – Roof Accessories |  | All | [6 empty] | 300 |  |  |  | 300
B3020.30 – Roof Specialties | 23-13 39 00: Roof Coverings, Claddings, Linings | All | [6 empty] | 300 |  |  |  | 350
B3020.70 – Rainwater Management |  | All | [6 empty] | 200 |  |  |  | 200
B3040 – Traffic Bearing Horizontal Enclosures
B3040.10 – Traffic Bearing Coatings |  | All
B3040.30 – Horizontal Waterproofing Membrane |  | All | [14 empty] | 5, 8
B3040.50 – Wear Surfaces |  | All | [6 empty] | 200 |  |  |  | 200
B3040.90 – Horizontal Enclosures Supplementary Components |  | All | [14 empty] | 5, 8
B3060 – Horizontal Openings
B3060.10 – Roof Windows and Skylights |  | All | [6 empty] | 200 |  |  |  | 200
B3060.50 – Vents and Hatches |  | All | [6 empty] | 200 |  |  |  | 200
B3060.90 – Horizontal Opening Supplementary Components |  | All | [14 empty] | 5, 8
B3080 – Overhead Exterior Enclosures
B3080.10 – Exterior Ceilings |  | All | [6 empty] | 300 |  |  |  | 300 |  |  |  | 16
B3080.20 – Exterior Soffits |  | All | [6 empty] | 300 |  |  |  | 300 |  |  |  | 16
B3080.30 – Exterior Bulkheads |  | All | [6 empty] | 300 |  |  |  | 300 |  |  |  | 16
C: Interiors
C10 Interior Construction
C1010 – Interior Partitions | 23-17 21 00: Protection of Openings
C1010.10 – Interior Fixed Partitions |  | All | [6 empty] | 300 |  |  |  | 300 |  |  |  | 1, 16
C1010.20 – Interior Glazed Partitions |  | All | [6 empty] | 300 |  |  |  | 300
C1010.40 – Interior Demountable Partitions |  | All | [6 empty] | 200 |  |  |  | 200 |  |  |  | 16
C1010.50 – Interior Operable Partitions |  | All | [6 empty] | 200 |  |  |  | 200 |  |  |  | 16
C1010.70 – Interior Screens |  | All | [6 empty] | 200 |  |  |  | 200
C1010.90 – Interior Partition Supplementary Components |  | All | [14 empty] | 5
C1020 – Interior Windows
C1020.10 – Interior Operating Windows |  | All | [6 empty] | 300 |  |  |  | 300
C1020.20 – Interior Fixed Windows |  | All | [6 empty] | 300 |  |  |  | 300
C1020.50 – Interior Special Function Windows |  | All | [6 empty] | 300 |  |  |  | 300
C1020.90 – Interior Window Supplementary Components |  | All | [14 empty] | 5, 8
C1030 – Interior Doors | 23-17 11 00: Doors
C1030.10 – Interior Swinging Doors | 23-17 11 00: Doors | All | [6 empty] | 300 |  |  |  | 350
C1030.20 – Interior Entrance Doors | 23-17 11 00: Doors | All | [6 empty] | 300 |  |  |  | 350
C1030.25 – Interior Sliding Doors | 23-17 11 00: Doors | All | [6 empty] | 300 |  |  |  | 350
C1030.30 – Interior Folding Doors | 23-17 11 00: Doors | All | [6 empty] | 300 |  |  |  | 350
C1030.40 – Interior Coiling Doors | 23-17 11 00: Doors | All | [6 empty] | 300 |  |  |  | 350
C1030.50 – Interior Panel Doors | 23-17 11 00: Doors | All | [6 empty] | 300 |  |  |  | 350
C1030.70 – Interior Special Function Doors | 23-17 11 00: Doors | All | [6 empty] | 300 |  |  |  | 350
C1030.80 – Interior Access Doors and Panels | 23-17 11 00: Doors | All | [6 empty] | 300 |  |  |  | 350
C1030.90 – Interior Door Supplementary Components | 23-17 19 11 31: Automatic Door Controls and Operators | All | [6 empty] | 300 |  |  |  | 350 |  |  |  | 5
C1040 – Interior Grilles and Gates
C1040.10 – Interior Grilles |  | All | [6 empty] | 200 |  |  |  | 200
C1040.50 – Interior Gates |  | All | [6 empty] | 200 |  |  |  | 200
C1060 – Raised Floor Construction
C1060.10 – Access Flooring |  | All | [6 empty] | 300 |  |  |  | 300
C1060.30 – Platform/Stage Floor |  | All | [6 empty] | 300 |  |  |  | 300
C1070 – Suspended Ceiling Construction
C1070.10 – Acoustical Suspended Ceilings |  | All | [6 empty] | 300 |  |  |  | 300 |  |  |  | 16
C1070.20 – Suspended Plaster and Gypsum Board Ceilings |  | All | [6 empty] | 300 |  |  |  | 300 |  |  |  | 16
C1070.50 – Specialty Suspended Ceilings |  | All | [6 empty] | 300 |  |  |  | 300 |  |  |  | 16
C1070.70 – Special Function Suspended Ceiling |  | All | [6 empty] | 300 |  |  |  | 300 |  |  |  | 16
C1070.90 – Ceiling Suspension Components |  | All | [14 empty] | 5, 8
C1090 – Interior Specialties | 23-19 00 00: Specialty Products
C1090.10 – Interior Railings and Handrails |  | All | [6 empty] | 300 |  |  |  | 300
C1090.15 – Interior Louvers |  | All | [6 empty] | 300 |  |  |  | 300
C1090.20 – Information Specialties |  | All | [6 empty] | 200 |  |  |  | 200
C1090.25 – Compartments and Cubicles |  | All | [6 empty] | 200 |  |  |  | 200
C1090.30 – Service Walls |  | All | [6 empty] | 300 |  |  |  | 300
C1090.35 – Wall and Door Protection |  | All | [6 empty] | 300 |  |  |  | 300
C1090.40 – Toilet, Bath, and Laundry Accessories |  | All | [6 empty] | 300 |  |  |  | 300
C1090.45 – Interior Gas Lighting |  | All
C1090.50 – Fireplaces and Stoves |  | All | [6 empty] | 200 |  |  |  | 200
C1090.60 – Safety Specialties |  | All | [6 empty] | 200 |  |  |  | 200
C1090.70 – Storage Specialties |  | All | [6 empty] | 300 |  |  |  | 300
C1090.90 – Other Interior Specialties |  | All | [6 empty] | 200 |  |  |  | 200
C20 Interior Finishes
C2010 – Wall Finishes
C2010.10 – Tile Wall Finish |  | All | [14 empty] | 2
C2010.20 – Wall Paneling |  | All | [14 empty] | 2
C2010.30 – Wall Coverings |  | All | [14 empty] | 2
C2010.35 – Wall Carpeting |  | All | [14 empty] | 2
C2010.50 – Stone Facing |  | All | [14 empty] | 2
C2010.60 – Special Wall Surfacing |  | All | [14 empty] | 2
C2010.70 – Wall Painting and Coating |  | All | [14 empty] | 2
C2010.80 – Acoustical Wall Treatment |  | All | [14 empty] | 2
C2010.90 – Wall Finish Supplementary Components |  | All | [14 empty] | 3, 8
C2020 – Interior Fabrications |  | All | [6 empty] | 200 |  |  |  | 200
C2030 – Flooring
C2030.10 – Flooring Treatment |  | All | [14 empty] | 2
C2030.20 – Tile Flooring |  | All | [14 empty] | 2
C2030.30 – Specialty Flooring |  | All | [14 empty] | 2
C2030.40 – Masonry Flooring |  | All | [14 empty] | 2
C2030.45 – Wood Flooring |  | All | [14 empty] | 2
C2030.50 – Resilient Flooring |  | All | [14 empty] | 2
C2030.60 – Terrazzo Flooring |  | All | [14 empty] | 2
C2030.70 – Fluid-Applied Flooring |  | All | [14 empty] | 2
C2030.75 – Carpeting |  | All | [14 empty] | 2
C2030.80 – Athletic Flooring |  | HDH, FM | [14 empty] | 2
C2030.85 – Entrance Flooring |  | All | [14 empty] | 2
C2030.90 – Flooring Supplementary Components |  | All | [14 empty] | 3, 8
C2040 – Stair Finishes
C2040.20 – Tile Stair Finish |  | All | [14 empty] | 2
C2040.40 – Masonry Stair Finish |  | All | [14 empty] | 2
C2040.45 – Wood Stair Finish |  | All | [14 empty] | 2
C2040.50 – Resilient Stair Finish |  | All | [14 empty] | 2
C2040.60 – Terrazzo Stair Finish |  | All | [14 empty] | 2
C2040.75 – Carpeted Stair Finish |  | All | [14 empty] | 2
C2050 – Ceiling Finishes
C2050.10 – Plaster and Gypsum Board Finish |  | All | [14 empty] | 2
C2050.20 – Ceiling Paneling |  | All | [14 empty] | 2
C2050.70 – Ceiling Painting and Coating |  | All | [14 empty] | 2
C2050.80 – Acoustical Ceiling Treatment |  | All | [14 empty] | 2
C2050.90 – Ceiling finish Supplementary Components |  | All | [14 empty] | 3, 8
C2090 – Interior Finish Schedules |  | All | [14 empty] | 2
D: Services
D10 Conveying
D1010 – Vertical Conveying Systems
D1010.10 – Elevators | 23-23 11 11: Elevators 23-23 11 11 21: Elevator Equipment and Controls | All | [6 empty] | 300 |  |  |  | 350
D1010.20 – Lifts | 23-23 13 11: Lifts | All | [6 empty] | 300 |  |  |  | 350
D1010.30 – Escalators |  | All | [6 empty] | 300 |  |  |  | 300
D1010.50 – Dumbwaiters | 23-23 17 11: Dumbwaiters | All | [6 empty] | 300 |  |  |  | 350
D1010.60 – Moving Ramps |  | All | [6 empty] | 200 |  |  |  | 200
D1030 – Horizontal Conveying
D1030.30 – Turntables |  | All | [6 empty] | 200 |  |  |  | 200
D1050 – Material Handling
D1050.10 – Cranes |  | All | [6 empty] | 200 |  |  |  | 200
D1050.20 – Hoists |  | All | [6 empty] | 200 |  |  |  | 200
D1050.30 – Derricks |  | All | [6 empty] | 200 |  |  |  | 200
D1050.40 – Conveyors |  | All | [6 empty] | 200 |  |  |  | 200
D1050.60 – Chutes |  | All | [6 empty] | 300 |  |  |  | 300
D1050.70 – Pneumatic Tube Systems |  | Med Center, FM | [6 empty] | 300 |  |  |  | 300
D1080 – Operable Access Systems
D1080.10 – Suspended Scaffolding |  | All
D1080.20 – Rope Climbers |  | All | [6 empty] | 200 |  |  |  | 200
D1080.30 – Elevating Platforms |  | All | [6 empty] | 300 |  |  |  | 300
D1080.40 – Powered Scaffolding |  | All
D1080.50 – Building Envelope Access |  | All | [6 empty] | 200 |  |  |  | 200
D20 Plumbing
D2010 – Domestic Water Distribution
D2010.10 – Facility Potable-Water Storage Tanks | 23-27 29 00: Tanks and Storage Structures | All | [6 empty] | 300 |  |  |  | 350 |  | 400 |  | 18
D2010.20 – Domestic Water Equipment | 23-27 29 00: Tanks and Storage Structures | All | [6 empty] | 300 |  |  |  | 350 |  | 400 |  | 18
D2010.40 – Domestic Water Piping | 23-27 39 00: Piping | All | [6 empty] | 300 |  |  |  | 350 |  | 400 |  | 18
D2010.60 – Plumbing Fixtures | 23-31 00 00: Plumbing Specific Products and Equipment | All | [6 empty] | 300 |  |  |  | 350 |  | 400 |  | 18
D2010.90 – Domestic Water Distribution Supplementary Components | 23-27 17 00: Pumps 23-27 31 00: Valves | All | [6 empty] | 300 |  |  |  | 350 |  | 400 |  | 11
D2020 – Sanitary Drainage
D2020.10 – Sanitary Sewerage Equipment |  | All | [6 empty] | 300 |  |  |  | 300 |  | 400 |  | 18
D2020.30 – Sanitary Sewerage Piping | 23-27 39 00: Piping | All | [6 empty] | 300 |  |  |  | 350 |  | 400 |  | 18
D2020.90 – Sanitary Drainage Supplementary Components | 23-27 17 00: Pumps 23-27 31 00: Valves | All | [6 empty] | 300 |  |  |  | 350 |  | 400 |  | 11
D2030 – Building Support Plumbing Systems
D2030.10 – Stormwater Drainage Equipment | 23-27 17 00: Pumps | All | [6 empty] | 300 |  |  |  | 350 |  | 400 |  | 18
D2030.20 – Stormwater Drainage Piping | 23-27 39 00: Piping | All | [6 empty] | 300 |  |  |  | 350 |  | 400 |  | 18
D2030.30 – Facility Stormwater Drains |  | All | [6 empty] | 300 |  |  |  | 350 |  | 400 |  | 18
D2030.60 – Gray Water Systems | 23-39 29 00: Waste Water Collection and Removal | All | [6 empty] | 300 |  |  |  | 350 |  | 400 |  | 18
D2030.90 – Building Support Plumbing System Supplementary Components | 23-27 55 00: Liquid Treatment Components 23-27 37 00: Liquid Traps | All | [6 empty] | 300 |  |  |  | 350 |  | 400 |  | 11
D2050 – General Service Compressed-Air | 23-27 21 00: Compressors | Med Center, FM | [6 empty] | 300 |  |  |  | 350 |  | 400
D2060 – Process Support Plumbing Systems
D2060.10 – Compressed-Air Systems | 23-27 39 00: Piping | Med Center, FM | [6 empty] | 300 |  |  |  | 350 |  | 400 |  | 18
D2060.20 – Vacuum Systems | 23-27 39 00: Piping | Med Center, FM | [6 empty] | 300 |  |  |  | 350 |  | 400 |  | 18
D2060.30 – Gas Systems | 23-27 39 00: Piping | Med Center, FM | [6 empty] | 300 |  |  |  | 350 |  | 400 |  | 18
D2060.40 – Chemical-Waste Systems | 23-27 39 00: Piping | Med Center, FM | [6 empty] | 300 |  |  |  | 350 |  | 400 |  | 18
D2060.50 – Processed Water Systems | 23-27 39 00: Piping | Med Center, FM | [6 empty] | 300 |  |  |  | 350 |  | 400 |  | 18
D2060.90 – Process Support Plumbing System Supplementary Components | 23-29 37 00: Occupational Safety and Health Equipment | Med Center, FM | [6 empty] | 300 |  |  |  | 350 |  | 400 |  | 11
D30 HVAC
D3010 – Facility Fuel Systems
D3010.10 – Fuel Piping |  | All | [6 empty] | 300 |  |  |  | 350 |  | 400 |  | 18
D3010.30 – Fuel Pumps |  | All | [6 empty] | 300 |  |  |  | 350 |  | 400 |  | 18
D3010.50 – Fuel Storage Tanks |  | All | [6 empty] | 300 |  |  |  | 350 |  | 400 |  | 18
D3020 – Heating Systems
D3020.10 – Heat Generation | 23-33 11 00: Commercial Boilers 23-37 23 00: Heat Exchangers | All | [6 empty] | 300 |  |  |  | 350 |  | 400 |  | 17, 18
D3020.30 – Thermal Heat Storage |  | All | [6 empty] | 300 |  |  |  | 350 |  | 400 |  | 17, 18
D3020.70 – Decentralized Heating Equipment | 23-33 15 00: HVAC Heating Units 23-33 33 00: HVAC Fan Coil Units | All | [6 empty] | 300 |  |  |  | 350 |  | 400 |  | 17, 18
D3020.90 – Heating System Supplementary Components |  | All
D3030 – Cooling Systems
D3030.10 – Central Cooling | 23-33 21 00: Chillers 23-33 43 00: HVAC Condenser Units 23-27 21 00: Compressors 23-33 23 00: Cooling Towers | All | [6 empty] | 300 |  |  |  | 350 |  | 400 |  | 17, 18
D3030.30 – Evaporative Air-Cooling |  | All | [6 empty] | 300 |  |  |  | 350 |  | 400 |  | 17, 18
D3030.50 – Thermal Cooling Storage |  | All | [6 empty] | 300 |  |  |  | 350 |  | 400 |  | 17, 18
D3030.70 – Decentralized Cooling | 23-33 33 00: HVAC Fan Coil Units 23-33 39 00: Air Conditioning Equipment | All | [6 empty] | 300 |  |  |  | 350 |  | 400 |  | 17, 18
D3030.90 – Cooling System Supplementary Components | 23-33 27 00: Air Humidity Control Equipment | All | [6 empty] | 300 |  |  |  | 350 |  | 400
D3050 – Facility HVAC Distribution Systems
D3050.10 – Facility Hydronic Distribution |  | All | [6 empty] | 300 |  |  |  | 350 |  | 400 |  | 17, 18
D3050.30 – Facility Steam Distribution |  | All | [6 empty] | 300 |  |  |  | 350 |  | 400 |  | 17, 18
D3050.50 – HVAC Air Distribution | 23-33 25 00: Air-Handling Units 23-33 31 00: Air Circulators 23-33 41 17: Terminal Air Units | All | [6 empty] | 300 |  |  |  | 350 |  | 400 |  | 17, 18
D3050.90 – Facility Distribution Systems Supplementary Components | 23-27 57 27: Air Filters 23-33 29 00: HVAC Dampers | All | [6 empty] | 300 |  |  |  | 350 |  | 400
D3060 – Ventilation
D3060.10 – Supply Air | 23-33 31 00: Air Circulators 23-33 49 00: HVAC Ductwork | All | [6 empty] | 300 |  |  |  | 350 |  | 400 |  | 17
D3060.20 – Return Air | 23-33 31 00: Air Circulators 23-33 49 00: HVAC Ductwork | All | [6 empty] | 300 |  |  |  | 350 |  | 400 |  | 17
D3060.30 – Exhaust Air | 23-33 31 00: Air Circulators | All | [6 empty] | 300 |  |  |  | 350 |  | 400 |  | 17
D3060.40 – Outside Air | 23-33 31 00: Air Circulators 23-33 49 00: HVAC Ductwork | All | [6 empty] | 300 |  |  |  | 350 |  | 400 |  | 17
D3060.60 – Air-to-Air Energy Recovery |  | All | [6 empty] | 300 |  |  |  | 350 |  | 400 |  | 17
D3060.70 – HVAC Air Cleaning |  | All | [6 empty] | 300 |  |  |  | 350 |  | 400 |  | 17
D3060.90 – Ventilation Supplementary Components | 23-33 29 00: HVAC Dampers 23-33 43 00: HVAC Condenser Units | All | [6 empty] | 300 |  |  |  | 350 |  | 400
D3070 – Special Purpose HVAC System
D40 Fire Protection
D4010 – Fire Suppression
D4010.10 – Water-Based Fire-Suppression | 23-29 33 00: Fire Suppression System Components | All | [6 empty] | 300 |  |  |  | 350 |  | 400 |  | 4, 18
D4010.50 – Fire-Extinguishing |  | All | [6 empty] | 300 |  |  |  | 350 |  | 400 |  | 4, 18
D4010.90 – Fire Suppression Supplementary Components | 23-27 17 00: Pumps 23-29 31 00: Fire Notification Appliances | All | [6 empty] | 300 |  |  |  | 350 |  | 400 |  | 4
D4030 – Fire Protection Specialties
D4030.10 – Fire Protection Cabinets |  | All | [6 empty] | 200 |  |  |  | 300
D4030.30 – Fire Extinguishers | 23-29 25 00: Fire Fighting Equipment | All | [6 empty] | 300 |  |  |  | 300
D4030.50 – Breathing Air Replenishment Systems |  | All | [6 empty] | 200 |  |  |  | 300
D4030.70 – Fire Extinguisher Accessories | 23-29 29 00: Fire Detection Devices | All | [6 empty] | 300 |  |  |  | 300
D50 Electrical
D5010 – Facility Power Generator
D5010.10 – Packaged Generator Assemblies | 23-35 11 00: Electrical Generators | All | [6 empty] | 300 |  |  |  | 350
D5010.20 – Battery Equipment | 23-35 19 00: Batteries | All | [6 empty] | 300 |  |  |  | 350
D5010.30 – Photovoltaic Collectors |  | All | [6 empty] | 200 |  |  |  | 300
D5010.40 – Fuel Cells |  | All | [6 empty] | 200 |  |  |  | 300
D5010.60 – Power Filtering and Conditioning |  | All | [6 empty] | 200 |  |  |  | 300
D5010.70 – Transfer Switches |  | All | [6 empty] | 200 |  |  |  | 300
D5010.90 – Facility Power Generation Supplementary Components | 23-35 13 00: Transformers 23-35 17 00: Variable Speed Drives | All | [6 empty] | 300 |  |  |  | 350 |  |  |  | 5
D5020 – Electrical Service and Distribution
D5020.10 – Electrical Service |  | All | [6 empty] | 300 |  |  |  | 300
D5020.30 – Power Distribution | 23-35 23 00: Power Conditioning Equipment 23-35 31 00: Electrical Power Distribution Devices | All | [6 empty] | 300 |  |  |  | 350 |  |  |  | 14
D5020.70 – Facility Grounding |  | All | [14 empty] | 5
D5020.90 – Electrical Service and Distribution Supplementary Components | 23-35 25 00: Electrical Instrumentation and Controls | All | [6 empty] | 300 |  |  |  | 350 |  |  |  | 5
D5030 – General Purpose Electrical Power
D5030.10 – Branch Wiring System | 23-35 33 00: Electrical Ducting Wireways Components | All | [6 empty] | 300 |  |  |  | 350 |  |  |  | 6, 14
D5030.50 – Wiring Devices |  | All | [6 empty] | 200 |  |  |  | 200
D5030.90 – General Purpose Electrical Power Supplementary Components | 23-35 29 00: Circuit Breakers | All | [6 empty] | 300 |  |  |  | 350 |  |  |  | 5, 14
D5040 – Lighting
D5040.10 – Lighting Control | 23-35 31 00: Electrical Power Distribution Devices | All | [6 empty] | 300 |  |  |  | 350
D5040.20 – Branch Wiring for Lighting |  | All | [6 empty] | 200 |  |  |  | 200 |  |  |  | 6, 14
D5040.50 – Lighting Fixtures | 23-35 47 15: Exit Illuminated Signs 23-35 47 13: Emergency Lighting 23-35 47 11: Lighting Fixtures | All | [6 empty] | 300 |  |  |  | 350
D5040.90 – Lighting Supplementary Components | 23-35 27 00: Electrical Terminals | All | [6 empty] | 300 |  |  |  | 350 |  |  |  | 5
D5080 – Miscellaneous Electrical Systems
D5080.10 – Lightning Protection |  | All | [14 empty] | 7
D5080.40 – Cathodic Protection |  | All | [14 empty] | 5
D5080.70 – Transient Voltage Suppression |  | All | [14 empty] | 5
D5080.90 – Miscellaneous Electrical Systems Supplementary Components |  | All | [14 empty] | 5
D60 Communications
D6010 – Data Communications
D6010.10 – Data communications Network Equipment |  | All | [6 empty] | 300 |  |  |  | 350 |  |  |  | 19
D6010.20 – Data Communications Hardware |  | All | [6 empty] | 300 |  |  |  | 350 |  |  |  | 19
D6010.30 – Data communications Peripheral Data Equipment |  | All | [6 empty] | 300 |  |  |  | 350 |  |  |  | 19
D6010.60 – Data Communication Program and Integration Services |  | All
D6020 – Voice Communications
D6020.10 – Voice Communications Switching and Routing Equipment |  | All | [6 empty] | 300 |  |  |  | 350 |  |  |  | 19
D6020.20 – Voice Communications Terminal Equipment |  | All | [14 empty] | 19
D6020.30 – Voice Communications Messaging | [16 empty] | 19
D6020.40 – Call Accounting | [16 empty] | 19
D6020.50 – Call Management | [8 empty] | 200 |  |  |  | 200 |  |  |  | 19
D6030 – Audio-Video Communications
D6030.10 – Audio-Video Systems |  | All | [6 empty] | 300 |  |  |  | 350 |  |  |  | 19
D6030.50 – Electronic Digital Systems |  | All | [6 empty] | 300 |  |  |  | 350 |  |  |  | 19
D6060 – Distributed Communications and Monitoring
D6060.10 – Distributed Audio-Video Communications Systems |  | All | [6 empty] | 200 |  |  |  | 200 |  |  |  | 19
D6060.30 – Healthcare Communications and Monitoring |  | Med Center, FM | [6 empty] | 200 |  |  |  | 200 |  |  |  | 19
D6060.50 – Distributed Systems |  | All | [6 empty] | 200 |  |  |  | 200
D6090 – Communications Supplementary Components
D6090.10 – Supplementary Components |  | All | [6 empty] | 200 |  |  |  | 200 |  |  |  | 13
D70 Electronic Safety and Security
D7010 – Access Control and Intrusion Detection
D7010.10 – Access Control |  | All | [6 empty] | 200 |  |  |  | 200 |  |  |  | 20
D7010.50 – Intrusion Detection |  | All | [6 empty] | 200 |  |  |  | 200 |  |  |  | 20
D7030 – Electronic Surveillance
D7030.10 – Video Surveillance |  | All | [6 empty] | 300 |  |  |  | 300 |  |  |  | 20
D7030.50 – Electronic Personal Protection |  | All | [6 empty] | 200 |  |  |  | 200 |  |  |  | 20
D7050 – Detection and Alarm
D7050.10 – Fire Detection and Alarm | 23-29 29 00: Fire Detection Devices | All | [6 empty] | 300 |  |  |  | 350 |  |  |  | 20
D7050.20 – Radiation Detection and Alarm |  | Med Center, FM | [6 empty] | 300 |  |  |  | 300 |  |  |  | 20
D7050.30 – Fuel-Gas Detection and Alarm |  | All | [6 empty] | 300 |  |  |  | 300 |  |  |  | 20
D7050.40 – Fuel-Oil Detection and Alarm |  | All | [6 empty] | 300 |  |  |  | 300 |  |  |  | 20
D7050.50 – Refrigeration Detection and Alarm |  | All | [6 empty] | 300 |  |  |  | 300 |  |  |  | 20
D7050.60 – Water Intrusion Detection and Alarm |  | All | [6 empty] | 300 |  |  |  | 300 |  |  |  | 20
D7070 – Electronic Monitoring and Control
D7070.10 – Electronic Detention Monitoring and Control |  | All | [6 empty] | 200 |  |  |  | 200 |  |  |  | 20
D7090 – Electronic Safety and Security Supplementary Components
D7090.10 – Supplementary Components |  | All | [6 empty] | 200 |  |  |  | 200 |  |  |  | 13
D80 Integrated Automation
D8010 – Integrated Automation Facility Controls | 23-27 15 00: Building Automation and Control
D8010.10 – Integrated Automation Control of Equipment |  | All
D8010.20 – Integrated Automation Control of Conveying Equipment |  | All
D8010.30 – Integrated Automation Control of Fire-Suppression Systems | 23-29 29 00: Fire Detection Devices | All | [6 empty] | 300 |  |  |  | 350
D8010.40 – Integrated Automation Control of Plumbing Systems |  | All
D8010.50 – Integrated Automation Control of HVAC Systems |  | All
D8010.60 – Integrated Automation Control of Electrical Systems |  | All
D8010.70 – Integrated Automation Control of Communication Systems |  | All
D8010.80 – Integrated Automation Control of Electronic Safety and Security Systems |  | All
D8010.90 – Integrated Automation Supplementary Components |  | All | [14 empty] | 13
E: Equipment & Furnishings
E10 Equipment
E1010 – Vehicle and Pedestrian Equipment
E1010.10 – Vehicle Servicing Equipment |  | Med Center, FM | [6 empty] | 200 |  |  |  | 200
E1010.30 – Interior Parking Control Equipment |  | Med Center, FM | [6 empty] | 200 |  |  |  | 200
E1010.50 – Loading Dock Equipment |  | All | [6 empty] | 200 |  |  |  | 200
E1010.70 – Interior Pedestrian Control Equipment |  | All | [6 empty] | 200 |  |  |  | 200
E1030 – Commercial Equipment
E1030.10 – Mercantile and Service Equipment |  | All | [6 empty] | 200 |  |  |  | 200
E1030.20 – Vault Equipment |  | All | [6 empty] | 200 |  |  |  | 200
E1030.25 – Teller and Service Equipment |  | All | [6 empty] | 200 |  |  |  | 200
E1030.30 – Refrigerated Display Equipment |  | All | [6 empty] | 200 |  |  |  | 200
E1030.35 – Commercial Laundry and Dry Cleaning Equipment |  | All | [6 empty] | 200 |  |  |  | 200
E1030.40 – Maintenance Equipment | 23-27 71 00: Building Maintenance Equipment | All | [6 empty] | 300 |  |  |  | 350
E1030.50 – Hospitality Equipment |  | All | [6 empty] | 200 |  |  |  | 200
E1030.55 – Unit Kitchens |  | All | [6 empty] | 200 |  |  |  | 200
E1030.60 – Photographic Processing Equipment |  | Med Center, FM | [6 empty] | 200 |  |  |  | 200
E1030.70 – Postal, Packaging, and Shipping Equipment |  | All
E1030.75 – Office Equipment |  | All | [6 empty] | 200 |  |  |  | 200
E1030.80 – Foodservice Equipment | 23-21 21 00: Food Service Equipment and Furnishings | All | [6 empty] | 300 |  |  |  | 350
E1040 – Institutional Equipment
E1040.10 – Educational and Scientific Equipment |  | All | [6 empty] | 200 |  |  |  | 200
E1040.20 – Healthcare Equipment | 23-25 00 00: Medical and Laboratory Equipment 23-25 33 00: Medical Gas Products 23-37 27 00: Emergency Communications | Med Center, FM | [6 empty] | 300 |  |  |  | 350
E1040.40 – Religious Equipment |  | All | [6 empty] | 200 |  |  |  | 200
E1040.60 – Security Equipment |  | All | [6 empty] | 200 |  |  |  | 200
E1060 – Residential Equipment
E1060.10 – Residential Appliances |  | All | [6 empty] | 200 |  |  |  | 200
E1060.50 – Retractable Stairs |  | All | [6 empty] | 200 |  |  |  | 200
E1060.70 – Residential Ceiling Fans |  | HDH, FM | [6 empty] | 200 |  |  |  | 200
E1070 – Entertainment and Recreational Equipment
E1070.10 – Theater and Stage Equipment |  | All | [6 empty] | 200 |  |  |  | 200
E1070.20 – Musical Equipment |  | HDH, FM | [6 empty] | 200 |  |  |  | 200
E1070.50 – Athletic Equipment |  | All | [6 empty] | 200 |  |  |  | 200
E1070.60 – Recreational Equipment |  | All | [6 empty] | 200 |  |  |  | 200
E1090 – Other Equipment
E1090.10 – Solid Waste Handling Equipment |  | All | [6 empty] | 200 |  |  |  | 200
E1090.30 – Agricultural Equipment |  | FM | [6 empty] | 200 |  |  |  | 200
E1090.40 – Horticultural Equipment |  | FM | [6 empty] | 200 |  |  |  | 200
E1090.60 – Decontamination Equipment |  | All | [6 empty] | 200 |  |  |  | 200
E20 Furnishings
E2010 – Fixed Furnishings
E2010.10 – Fixed Art |  | All | [6 empty] | 200 |  |  |  | 200
E2010.20 – Window Treatments |  | All | [6 empty] | 200 |  |  |  | 200
E2010.30 – Casework |  | All | [6 empty] | 300 |  |  |  | 300
E2010.70 – Fixed Multiple Seating |  | All | [6 empty] | 200 |  |  |  | 200
E2010.90 – Other Fixed Furnishings |  | All | [6 empty] | 200 |  |  |  | 200
E2050 – Movable Furnishings
E2050.10 – Movable Art |  | All | [6 empty] | 200 |  |  |  | 200
E2050.30 - Furniture |  | All | [6 empty] | 200 |  |  |  | 200
E2050.40 – Accessories |  | All | [6 empty] | 200 |  |  |  | 200
E2050.60 – Movable Multiple Seating |  | All | [6 empty] | 200 |  |  |  | 200
E2050.90 – Other Movable Furnishings |  | All | [6 empty] | 200 |  |  |  | 200
F: Special Construction & Demolition
F10 Special Construction
F1010 – Integrated Construction
F1010.10 – Building Modules |  | All | [6 empty] | 300 |  |  |  | 300
F1010.50 – Manufactured/Fabricated Rooms |  | All | [6 empty] | 300 |  |  |  | 300
F1010.70 – Modular Mezzanines |  | All | [6 empty] | 300 |  |  |  | 300
F1020 – Special Structures
F1020.10 – Fabric Structures |  | All
F1020.20 – Space Frames |  | All
F1020.30 – Geodesic Structures |  | All
F1020.40 – Manufacturer-engineered Structures |  | All
F1020.60 – Manufactured Canopies |  | All
F1020.65 – Rammed Earth Construction |  | All
F1020.70 – Towers |  | All
F1030 – Special Function Construction
F1030.10 – Sound and Vibration Control |  | All
F1030.30 – Seismic Control |  | All
F1030.50 – Radiation Protection |  | All
F1050 – Special Facility Components
F1050.10 – Pools |  | All | [6 empty] | 300 |  |  |  | 300
F1050.20 – Interior Fountains |  | All | [6 empty] | 200 |  |  |  | 200
F1050.30 – Interior Water Features |  | All | [6 empty] | 200 |  |  |  | 200
F1050.40 – Aquariums |  | All | [6 empty] | 200 |  |  |  | 200
F1050.60 – Ice Rinks |  | FM | [6 empty] | 200 |  |  |  | 200
F1050.70 – Animal Containment |  | Med Center, FM | [6 empty] | 200 |  |  |  | 200
F1060 – Athletic and Recreational Special Construction
F1060.10 – Indoor Soccer Boards |  | FM | [6 empty] | 200 |  |  |  | 200
F1060.20 – Safety Netting |  | All | [6 empty] | 200 |  |  |  | 200
F1060.30 – Arena Football Boards |  | FM | [6 empty] | 200 |  |  |  | 200
F1060.40 – Floor Sockets |  | All | [6 empty] | 200 |  |  |  | 200
F1060.50 – Athletic and Recreational Court Walls |  | All | [6 empty] | 200 |  |  |  | 200
F1060.60 – Demountable Athletic Surfaces |  | All | [6 empty] | 200 |  |  |  | 200
F1080 – Special Instrumentation
F1080.10 – Stress Instrumentation |  | All
F1080.20 – Seismic Instrumentation |  | All
F1080.40 – Meteorological Instrumentation |  | All
F1080.60 – Earth Movement Monitoring |  | All
F20 Facility Remediation
F2010 – Hazardous Materials Remediation
F2010.10 – Transportation and Disposal of Hazardous Materials |  | Med Center, FM
F2010.20 – Asbestos Remediation |  | Med Center, FM
F2010.30 – Lead Remediation |  | Med Center, FM
F2010.40 – Polychlorinate Biphenyl Remediation |  | Med Center, FM
F2010.50 – Mold Remediation |  | Med Center, FM
F30 Demolition
F3010 – Structure Demolition
F3010.10 – Building Demolition |  | All | [6 empty] | 200
F3010.30 – Tower Demolition |  | All
F3010.50 – Bridge Demolition |  | All
F3010.70 – Dam Demolition |  | All
F3030 – Selective Demolition
F3030.10 – Selective Building Demolition |  | All | [6 empty] | 200
F3030.30 – Selective Interior Demolition |  | All | [6 empty] | 200
F3030.50 – Selective Bridge Demolition |  | All
F3030.70 – Selective Historic Demolition |  | All
F3050 – Structure Moving
F3050.10 – Structure Relocation |  | All | [6 empty] | 300 |  |  |  | 300
F3050.30 – Structure Raising |  | All | [6 empty] | 300 |  |  |  | 300
G: Building Sitework
G10 Site Preparation
G1010 – Site Clearing
G1010.10 – Clearing and Grubbing |  | All
G1010.30 – Tree and Shrub Removal and Trimming |  | All
G1010.50 – Earth Stripping and Stockpiling |  | All
G1020 – Site Elements Demolition | [8 empty] | 300 |  |  |  | 350
G1020.10 – Utility Demolition |  | All | [14 empty] | 9
G1020.30 – Infrastructure Demolition |  | All | [14 empty] | 9
G1020.50 – Selective Site Demolition |  | All | [14 empty] | 9
G1030 – Site Element Relocation | [8 empty] | 300 |  |  |  | 350
G1030.10 – Utility Relocation |  | All | [14 empty] | 9
G1050 – Site Remediation | [8 empty] | -
G1050.10 – Physical Decontamination |  | All
G1050.15 – Chemical Decontamination |  | All
G1050.20 – Thermal Decontamination |  | All
G1050.25 – Biological Decontamination |  | All
G1050.30 – Remediation Soil Stabilization |  | All
G1050.40 – Site Containment |  | All
G1050.45 – Sinkhole Remediation |  | All
G1050.50 – Hazardous Waste Drum Handling |  | All
G1050.80 – Water Remediation |  | All
G1070 – Site Earthwork | [8 empty] | 300 |  |  |  | 300
G1070.10 – Grading |  | All | [14 empty] | 9
G1070.20 – Excavation and Fill |  | All | [14 empty] | 9
G1070.30 – Embankments |  | All | [14 empty] | 9
G1070.35 – Erosion and Sedimentation Controls |  | All | [14 empty] | 9
G1070.40 – Soil Stabilization |  | All | [14 empty] | 9
G1070.45 – Rock Stabilization |  | All | [14 empty] | 9
G1070.50 – Soil Reinforcement |  | All | [14 empty] | 9
G1070.55 – Slope Protection |  | All | [14 empty] | 9
G1070.60 – Gabions |  | All | [14 empty] | 9
G1070.65 – Riprap |  | All | [14 empty] | 9
G1070.70 – Wetlands |  | All | [14 empty] | 9
G1070.80 – Earth Dams |  | All | [14 empty] | 9
G1070.90 – Site Soil Treatment |  | All | [14 empty] | 9
G20 Site Improvements
G2010 – Roadways | [8 empty] | 300 |  |  |  | 300
G2010.10 – Roadway Pavement |  | All | [14 empty] | 9
G2010.20 – Roadway Curbs and Gutters |  | All | [14 empty] | 9
G2010.40 – Roadway Appurtenances |  | All | [14 empty] | 9
G2010.70 – Roadway Lighting |  | All | [14 empty] | 9
G2010.80 – Vehicle Fare Collection |  | All | [14 empty] | 9
G2020 – Parking Lots | [8 empty] | 300 |  |  |  | 300
G2020.10 – Parking Lot Pavement |  | All | [14 empty] | 9
G2020.20 – Parking Lot Curbs and Gutters |  | All | [14 empty] | 9
G2020.40 – Parking Lot Appurtenances |  | All | [14 empty] | 9
G2020.70 – Parking Lot Lighting |  | All | [14 empty] | 9
G2020.80 – Exterior Parking Control Equipment |  | All | [14 empty] | 9
G2030 – Pedestrian Plazas and Walkways | [8 empty] | 300 |  |  |  | 300
G2030.10 – Pedestrian Pavement |  | All | [14 empty] | 9
G2030.20 – Pedestrian Pavement Curbs and Gutters |  | All | [14 empty] | 9
G2030.30 – Exterior Steps and Ramps |  | All | [14 empty] | 9
G2030.40 – Pedestrian Pavement Appurtenances |  | All | [14 empty] | 9
G2030.70 – Plaza and Walkway Lighting |  | All | [14 empty] | 9
G2030.80 – Exterior Pedestrian Control Equipment |  | All | [14 empty] | 9
G2040 – Airfields | [8 empty] | -
G2050 – Athletic, Recreational, and Playfield Areas | [8 empty] | 300 |  |  |  | 300
G2050.10 – Athletic Areas |  | All | [14 empty] | 9
G2050.30 – Recreational Areas |  | All | [14 empty] | 9
G2050.50 – Playfield Areas |  | All | [14 empty] | 9
G2060 – Site Development | [8 empty] | 300 |  |  |  | 300
G2060.10 – Exterior Fountains |  | All | [14 empty] | 9
G2060.20 – Fences and Gates |  | All | [14 empty] | 9
G2060.25 – Site Furnishings |  | All | [14 empty] | 9
G2060.30 – Exterior Signage |  | All | [14 empty] | 9
G2060.35 – Flagpoles |  | All | [14 empty] | 9
G2060.40 – Covers and Shelters |  | All | [14 empty] | 9
G2060.45 – Exterior Gas Lighting |  | All | [14 empty] | 9
G2060.50 – Site Equipment |  | All | [14 empty] | 9
G2060.60 – Retaining Walls |  | All | [14 empty] | 9
G2060.70 – Site Bridges |  | All | [14 empty] | 9
G2060.80 – Site Screening Devices |  | All | [14 empty] | 9
G2060.85 – Site Specialties |  | All | [14 empty] | 9
G2080 – Landscaping | [8 empty] | 300 |  |  |  | 300
G2080.10 – Planting Irrigation |  | All | [14 empty] | 9
G2080.20 – Turf and Grasses |  | All | [14 empty] | 9
G2080.30 – Plants |  | All | [14 empty] | 9
G2080.50 – Planting Accessories |  | All | [14 empty] | 9
G2080.70 – Landscape Lighting |  | All | [14 empty] | 9
G2080.80 – Landscape Activities |  | All | [14 empty] | 9
G30 Liquid and Gas Site Utilities
G3010 – Water Utilities | [8 empty] | 300 |  |  |  | 350
G3010.10 – Site Domestic Water Distribution |  | All | [14 empty] | 12
G3010.30 – Site Fire Protection Water Distribution |  | All | [14 empty] | 12
G3010.50 – Site Irrigation Water Distribution |  | All | [14 empty] | 12
G3020 – Sanitary Sewerage Utilities | [8 empty] | 300 |  |  |  | 350
G3020.10 – Sanitary Sewerage Utility Connection |  | All | [14 empty] | 12
G3020.20 – Sanitary Sewerage Piping |  | All | [14 empty] | 12
G3020.40 – Utility Septic Tanks |  | All | [14 empty] | 12
G3020.50 – Sanitary Sewerage Structures |  | All | [14 empty] | 12
G3020.60 – Sanitary Sewerage Lagoons |  | All | [14 empty] | 12
G3030 – Storm Drainage Utilities | [8 empty] | 300 |  |  |  | 350
G3030.10 – Storm Drainage Utility Connection |  | All | [14 empty] | 12
G3030.20 – Storm Drainage Piping |  | All | [14 empty] | 12
G3030.30 – Culverts |  | All | [14 empty] | 12
G3030.40 – Site Storm Water Drains |  | All | [14 empty] | 12
G3030.50 – Storm Drainage Pumps |  | All | [14 empty] | 12
G3030.60 – Site Subdrainage |  | All | [14 empty] | 12
G3030.70 – Storm Drainage Ponds and Reservoirs |  | All | [14 empty] | 12
G3050 – Site Energy Distribution | [8 empty] | 300 |  |  |  | 350
G3050.10 – Site Hydronic Heating Distribution |  | All | [14 empty] | 12
G3050.20 – Site Steam Energy Distribution |  | All | [14 empty] | 12
G3050.40 – Site Hydronic Cooling Distribution |  | All | [14 empty] | 12
G3060 – Site Fuel Distribution | [8 empty] | 300 |  |  |  | 350
G3060.10 – Site Gas Distribution |  | All | [14 empty] | 12
G3060.20 – Site Fuel-Oil Distribution |  | All | [14 empty] | 12
G3060.30 – Site Gasoline Distribution |  | All | [14 empty] | 12
G3060.40 – Site Diesel Fuel Distribution |  | All | [14 empty] | 12
G3090 – Liquid and Gas Site Utilities Supplementary Components |  | All | [14 empty] | 12
G3090.10 – Supplementary Components |  | All | [14 empty] | 12
G40 Electrical Site Improvements
G4010 – Site Electric Distribution Systems | [8 empty] | 300 |  |  |  | 350
G4010.10 – Electrical Utility Services |  | All | [14 empty] | 10
G4010.20 – Electric Transmission and Distribution |  | All | [14 empty] | 10
G4010.30 – Electrical Substations |  | All | [14 empty] | 10
G4010.40 – Electrical Transformers |  | All | [14 empty] | 10
G4010.50 – Electrical Switchgear and Protection Devices |  | All | [14 empty] | 10
G4010.70 – Site Grounding |  | All
G4010.90 – Electrical Distribution System Instrumentation |  | All
G4050 – Site Lighting | [8 empty] | 300 |  |  |  | 350
G4050.10 – Area Lighting |  | All
G4050.20 – Flood Lighting |  | All
G4050.50 – Building Illumination |  | All
G4050.90 – Exterior Lighting Supplementary Components |  | All
G50 Site Communications
G5010 – Site Communications Systems | [8 empty] | 300 |  |  |  | 350
G5010.10 – Site Communications Structures |  | All
G5010.30 – Site Communications Distribution |  | All
G5010.50 – Wireless Communications Distribution |  | All
G90 Miscellaneous Site Construction
G9010 - Tunnels
G9010.10 – Vehicular Tunnels |  | All | [6 empty] | 300 |  |  |  | 300
G9010.20 – Pedestrian Tunnels |  | All | [6 empty] | 300 |  |  |  | 300
G9010.40 – Service Tunnels |  | All | [6 empty] | 300 |  |  |  | 300
G9010.90 – Tunnel Construction Related Activities |  | All

## Lookup_MEA
MEA | Firm Name
Arch
Civil
Stru
Mech
Plum
Elec
Tele
FP
Sub-Steel
Sub-Concrete
Sub-Drywall
Sub-Mech
Sub-Plumb
Sub-Elec
Sub-FP

## LOD Notes
Appendix C: BIM LOD Matrix
LOD Notes
Note | Description
1 | Although standard wall and ceiling individual framing members are not modeled through LOD 300, any atypical framing features required for tiered ceilings, soffits, curved walls, arched ceilings, etc. should be modeled at a minimum for LOD 350 to ensure there is enough available space for the additional framing/bracing for these components.
2 | At LOD 100 Wall, Floor and Ceiling Finishes will be represented with text via a Room object.
3 | Wall, ceiling and/or floor furring along with other required sheathing/underlayments to be included with wall, ceiling and/or floor finish elements above as appropriate.
4 | The Plumbing Engineer will be responsible for defining the performance of the Fire Suppressions System as well as modeling; the location of fire service to the building, major equipment, standpipes and major piping runs and sprinkler hear locations in accordance with the defined LOD. Ancillary and secondary piping from the major piping runs to the sprinkler head locations to be design and modeled by the Fire Protection Contractor in accordance with the defined LOD.
5 | These categories will be represented by typical details and notes that have been developed with text and/or 2D supplementation in addition to or in lieu of model geometry for items called defined at LOD 100.
6 | The Electrical Engineer will exclude branch wiring from this category. During Trade Coordination the Electrical Contractor will be expected to model all conduits larger than ¾”, and large groups of conduit ¾” (or less) in a particular location shall be modeled to reflect the overall space requirements.
7 | Performance specification (with supporting 2D Supplementation) to be developed at LOD 100 by the Electrical Engineer.
8 | These components are typically modeled as part of other assemblies listed in the tables above and will assume those LOD and MEA designations.
9 | Section G: Building Sitework items are typically designed and documented in two dimensional applications and are typically owned by CE but may be modeled for reference by LA or A. Any deviation from this reference model will be documented in the project specific BIM Execution Plan.
10 | This category is typically owned by the utility company and will be modeled for reference and coordinated accordingly by the EE.
11 | In addition to the defined Level of Development for this category the PE will also provide typical details and notes that have been developed with text and/or 2D supplementation.
12 | The Mechanical, Plumbing and Electrical Engineers will be responsible for modeling their respective engineering systems up to 5’ outside the building, from that point on ownership of the Model Elements will transition to the Civil Engineer.
13 | In addition to the defined Level of Development for this category the Technology Engineer will provide typical details and notes that have been developed with text and/or 2D supplementation. This will be inclusive of this category with the exception of cable trays and bundled conduits which will be modeled.
14 | Branch wiring to be excluded as Model Elements by the Design Team.
15 | If systems are pre-egineered they can be modeled at LOD 200.
16 | Although standard wall and ceiling individual framing members are not modeled, any atypical framing features required for tiered ceilings, soffits, curved walls, arched ceilings, etc. should be modeled to ensure there is enough available space for the additional framing/bracing for these components.
17 | All ducts and air handling equipment shall be modeled to the outside face dimension.
18 | All piping shall be modeled to the outside diameter of the pipe adding insulation as its own entity where applicable or the pipe insulation, whichever is greater.
19 | For telecommunication systems, at a minimum, all cable tray, wire managements hooks, conduit larger than ¾”, and communication racks and cabinets shall be modeled. Large groups of conduit ¾” (or less) in a particular location shall be modeled to reflect the overall space requirements.
20 | All components of the fire alarm system shall be modeled including all panels and devices with access zones and conduit larger than ¾”. Large groups of conduit ¾” (or less) in a particular location will be modeled to reflect the overall space requirements.